**■ How to Use**

**1. Preparation for use.**

1) This is completely sterilized product, so check the damage to package.

2) Do not use a product in damaged package.

**2. Direction for use**

1) Product should be opened if no problem is found after packing condition is checked, and then product condition should be checked.

2) Pick up the general-purpose Catheter cannula after opening the packing paper, and then connect it with other devices to use.

3) Should be opened just before use.

**3. Storage**

1) This product is disposable, so do not reuse it.

2) This product is disposable, so dispose of it safely after use.

**■ Precaution**

1. As this product is disposable, it should be disposed after use, and reusing of it after reserialization is prohibited

2, The product of which individual(unit) packing is opened or broken must not be used as its sterilization cannot be guaranteed,

3, In case pricked by a polluted product people can be infected by various infection diseases,

**■ 사용방법 일회용캐뉼러**

**1. 사용 전 준비사항**

1) 본 제품은 완전멸균 밀폐되어 있으므로 포장의 파손유무를 확인한다.

2) 포장이 파손된 경우는 사용하지 않는다.

**2. 사용방법 및 조작순서**

1) 제품의 포장상태를 확인한 후 이상이 없을시 개봉하며, 제품의 이상 유무를 확인한다.

2) 포장지를 개봉하여 범용 카테터캐뉼러를 꺼낸 뒤, 다른 연결기기와 연결하여 사용한다.

3) 사용직전 개봉한다.

**3. 사용 후 보관 및 관리방법**

1) 본 제품은 일회용이므로, 절대 재사용하지 않는다.

2) 본 제품은 일회용이므로, 사용 후 안전하게 폐기한다.

**■ 사용시 주의사항**

1. 본 제품은 1회용이므로 사용 후 폐기하여야 하며, 재 멸균하여 재사용하는 것을 금한다.

2. 개별(낱개)포장이 개봉되거나 파손되어 있는 제품은 멸균을 보장할 수 없으므로 사용을 금한다.

3. 오염된 제품에 찔리게 되면 각종 감염질환과 같은 질병에 전염될 수 있다.